| Purpose: | This document establishes a structured methodology for the execution of specialist lighting installation works. Its purpose is to ensure that all hazards are systematically identified, risks are evaluated and reduced to a low and acceptable safe level. |
| --- | --- |
| Scope: | Applies to all activities associated with the installation, wiring, testing and commissioning of specialist lighting systems, including luminaires, emergency lighting and containment lighting. It also covers work at height, electrical interfacing and coordination with live or partially energized systems. |
| Duties & Responsibilities: | - Project Manager (PM): Responsible for ensuring that the risk assessment and safe work procedure are reviewed, approved and implemented. He shall ensure adequate resources are allocated and that all works comply with quality and occupational health and safety requirements. - Site Supervisor (SS): Responsible for coordinating site activities, enforcing permit-to-work requirements and ensuring that all control measures identified in the risk assessment are effectively implemented on site. - Safety & Health Officer (SHO) / Site Safety Supervisor (SSS): Responsible to monitor compliance with safety procedures, conduct inspections and verify that risk control measures remain effective throughout the execution of works. - Competent Electrician (CE): Responsible for carrying out installation and testing works in accordance with approved procedures, particularly ensuring strict adherence to LOTO and electrical safety practices. - Electrical Technician (ET): Responsible to comply with this procedure, properly use personal protective equipment and report any unsafe conditions immediately. |
| ISO Reference: | MS ISO 45001:2018 Clause No. 6.1, 8.1 & 8.2. |

| Revision History |  |  |  |
| --- | --- | --- | --- |
| Revision No. | Revision Date | Originator | Description of Changes |

| Definitions |  |
| --- | --- |
| LOTO | Lockout-Tagout |
| PTW | Permit-to-Work |
| MEWP | Mobile Elevated Work Platform |
| Hazard Identification | The primary hazards associated with specialist lighting installation include working at height, exposure to electrical shock and arc flash, falling objects during overhead work, manual handling of luminaires, and potential disruption when interfacing with live systems. |
| Risk Evaluation | Risks are evaluated using a likelihood and severity matrix, and high-risk activities such as work at height and energized testing are subject to strict control measures and permit requirements. |
| Risk Control Measures | Control measures are implemented in accordance with the hierarchy of controls. These include the use of certified access equipment, fall protection systems, LOTO procedures, insulated tools, exclusion zones, and proper lifting techniques. |

| Step | Activity | Responsibility | Reference |
| --- | --- | --- | --- |
| 1 | Risk Assessment Methodology - Likelihood (L): 1–5 - Severity (S): 1–5 - Risk Rating (R = L × S) - Risk Levels: - 1–5: Low - 6–10: Medium - 11–25: High | PM / SHO / SSS |  |
| 2 | Risk Assessment Table | PM / SHO / SSS |  |
| Activity; Hazard; Consequence; L; S; R; Control Measures (Hierarchy of Control); Residual Risk. Work at height (scaffold/MEWP); Fall from height; Fatality; 3; 5; 15 (High); Eliminate ladder use where possible; use MEWP/scaffold; full body harness; PTW; rescue plan; Medium. Electrical installation; Electric shock; Fatality; 2; 5; 10 (High); LOTO; test-before-touch; insulated tools; competent electrician; Low. Energized testing; Arc flash; Burns/fatality; 2; 5; 10 (High); Arc-rated PPE; barricade; restricted access; permit approval; Low. Overhead work; Falling objects; Head injury; 3; 4; 12 (High); Tool lanyards; toe boards; exclusion zone; Low. Manual handling; Lifting luminaires; Injury; 3; 3; 9 (Medium); Mechanical lifting aid; team lifting; training; Low. Power tools usage; Cuts/vibration; Injury; 3; 3; 9 (Medium); Tool inspection; PPE; trained personnel; Low. Ceiling void work; Heat stress; Fatigue; 3; 3; 9 (Medium); Ventilation; hydration; rest rotation; Low. Interface with live systems; System outage; Operational disruption; 2; 5; 10 (High); Shutdown planning; coordination with client; permit approval; Low. |
| Step | Activity | Responsibility | Reference |
| 3 | Emergency Preparedness - Fall rescue plan for work at height. - Emergency isolation for electrical faults. - First aid and trained personnel available. - Emergency contact and escalation procedure displayed. | PM / SHO / SSS |  |
| 4 | Safe Work Procedure 4.1 Pre-Work Preparation: Prior to commencement, all approved drawings, specifications and method statements shall be reviewed. A toolbox talk shall be conducted to communicate hazards and control measures. All required permits, including work at height and electrical isolation permits, shall be obtained. Personnel competency and tool condition shall also be verified. 4.2. Site Preparation: The work area shall be barricaded and warning signage installed to prevent unauthorized access. An exclusion zone shall be established below overhead work areas. All electrical circuits shall be isolated and verified using LOTO procedures before any work begins. 4.3 Access Setup: Certified scaffolding or MEWPs shall be deployed and inspected prior to use. Safe access and egress shall be ensured, and fall protection systems such as full body harnesses shall be used at all times when working at height. | PM / SS PM / SS PM / SS |  |
| Step | Activity | Responsibility | Reference |
|  | 4.4 Installation of Lighting Fixtures: Lighting fixtures shall be transported safely to the installation location. Mechanical aids shall be used where necessary to reduce manual handling risks. Fixtures shall be securely mounted in accordance with approved drawings and specifications. 4.5 Electrical Wiring and Termination: All electrical connections shall be carried out only after verifying that circuits are de-energized. Wiring shall be completed in accordance with approved schematics and proper earthing shall be ensured. Insulation resistance and continuity tests shall be conducted to verify installation integrity. 4.6 Testing and Commissioning: The system shall be energized under controlled conditions and supervision. Functional testing shall be performed to verify proper operation and illumination levels shall be measured to ensure compliance with design requirements. Emergency lighting systems shall also be tested. 4.7 Inspection and Quality Control: A QAQC inspection shall be conducted to verify that the installation meets all specifications and acceptance criteria. Any non-conformities identified shall be rectified prior to final acceptance. 4.8 Housekeeping and Handover: Upon completion, all tools, materials and waste shall be removed. The work area shall be restored to a safe condition. All documentation, including test reports and as-built drawings, shall be submitted for consultant approval. | PM / SS PM / SS PM / CE PM / CE PM / CE / SS |  |
| Step | Activity | Responsibility | Reference |
|  | 4.9 Emergency Preparedness: Emergency procedures shall be established in accordance with ISO 45001 requirements. These include fall rescue plans, electrical isolation procedures and first aid readiness. All personnel shall be briefed on emergency response actions. | PM / SHO / SSS |  |

| Prepared By: Name: Muhammad Zuhaili Azri Appointment: Safety & Health Officer (SHO) Date: 01 Jan 2026 | Approved By: Name: Ong Lay Cheong Appointment: Managing Director (MD) Date: 01 Jan 2026 |
| --- | --- |

End